YOUR BUSINESS NAME

Phone  ·  Email  ·  Website

Storm Checklist: Before and After

For hurricanes and major storms. Do only the tasks your agreement with the client covers.

Safety first. Never stay at a property during a storm, and do not go out afterward until local officials say it is safe. Stay away from downed power lines and standing water near them, and report them to the utility.

| Client |  | Property address |  |
| --- | --- | --- | --- |
| Storm |  | Prep visit date |  |
| Post-storm visit date |  | Visited by |  |

Before the storm

| Task | Done | N/A | Notes |
| --- | --- | --- | --- |
| Confirmed with the client which tasks to do and the spending limit |  |  |  |
| Photographed the outside and every room as a pre-storm record |  |  |  |
| Outdoor furniture, grills, planters and decorations brought in or secured |  |  |  |
| Shutters or panels installed or closed as agreed |  |  |  |
| Patio and yard drains cleared of loose debris |  |  |  |
| Windows and doors locked; blinds closed |  |  |  |
| Electronics unplugged as agreed |  |  |  |
| Items moved off the floor in rooms that flood, as agreed |  |  |  |
| Pool: handled as the client or pool company instructed |  |  |  |
| Vehicles or golf cart moved into the garage if possible |  |  |  |
| Generator checked and fueled, if the client has one |  |  |  |
| Thermostat, refrigerator and water heater set as agreed |  |  |  |
| Report with photos sent to the client |  |  |  |

After the storm (once officials say it is safe)

| Check | OK | Damage | Notes |
| --- | --- | --- | --- |
| Downed lines or trees near the property (do not approach lines) |  |  |  |
| Roof, shingles or tiles as seen from the ground |  |  |  |
| Fences, screens and pool or lanai enclosure |  |  |  |
| Windows, doors and garage door |  |  |  |
| Standing water against the foundation |  |  |  |
| Water inside at ceilings, windows, doors or floors |  |  |  |
| Power on; A/C running |  |  |  |
| Refrigerator and freezer still cold |  |  |  |
| Musty, gas or sewer odor |  |  |  |
| Shutters removed, if agreed |  |  |  |

Documenting damage

Take dated photos of every problem before anything is moved or cleaned up, plus wider shots that show where it is. Note what you saw and when. The client will need these for an insurance claim, so send them the same day.

| Client notified (time and how) |  | Vendors called |  |
| --- | --- | --- | --- |
| Temporary repairs approved by |  | Follow-up visit |  |